Notes

General notes :  
**CEILING:**1- in layouts in ceiling dwg. No ceiling legend(key) exists instead a flooring legend

2- No finishes key(names) in plans (only hatch)

3- Lighting , fire fighting & smoke detectors are not centered in tile (or boared) so I centered them in some parts (main spine – toilets)

4- can (uplight for palms) be moved ??!! and shoudn`t it appear in flooring.dwg not ceiling ???

5- Toilet`s ceiling changed from aluminum tiles to humidity resistant gypsum boared. (need to update ceiling key)

**SCHEDULES :**

1. FINISHES schedule dosen`t show ceiling finishes

**SECTIONS :**

1- in sec (B-B) some coulmns not appearing in main entrance