

License #467139

1111 Rancho Conejo Blvd., Suite 207 • Newbury Park, CA 91320

(805) 499-2829 • Fax (805) 499-0032 • [info@zellerelectric.net](mailto:info@zellerelectric.net)

REQUEST FOR INFORMATION

|  |
| --- |
| Date: 5/31/16 RFI #: 7 |

|  |  |
| --- | --- |
| To: | Swinterton Builders |
| Attention: | Project Manager |
| Phone/Fax: | 1.213.896.3400 |
| Email: | [jkwan@swinerton.com](mailto:jkwan@swinerton.com); [fsanchez@swinterton.com](mailto:fsanchez@swinterton.com); [triggs@swinerton.com](mailto:triggs@swinerton.com); |
| Project: | iHeart Media |
| Site Address: | 3400 W. Olive St. |
| Sheet(s): | Electrical E-301B |
| Other Ref.: |  |

|  |
| --- |
| Request/Concern |

Sheet E301B east end. They show new cubes feeds on the east end of the cubes. We would like to feed the cubes from the west end. On the floor below the ceiling opens up at about column line 20. On the west side of column line 20 it is T bar ceiling.

We also need a location to get power and data between floors. We need a location we can open up a wall and core down to get our data stubs up to the accessible ceiling.

It would be our recommendation to open up the wall in the office that has stairway 002 against its back wall. Open the wall with the door in it.

|  |
| --- |
| Response |